## Sayfa1
Experiment No | Luminaire Type | Room Width (cm) | Room Length (cm) | Room Height (cm) | Wall Surface Reflectance (p) | E | Uo | X - axis | Y - axis | Recommended Luminaires | E | Uo
1 | Linear Luminaire | 500 | 800 | 300 | 70 | 500 | 0.6 | 2 | 4 | Fagerhult Notor Delta 65 34W 3324lm | 503 | 0.53
2 | Square Ceiling Limunaire | 450 | 750 | 350 | 60 | 500 | 0.6 | 2 | 4 | Regent Item office 34W- 3700lm | 571 | 0.55
3 | Downlight | 400 | 800 | 320 | 65 | 500 | 0.6 | 3 | 4 | i Guzzini Easy 17W 2160lm | 593 | 0.54 |  | Luminaire Type | E | [9 empty] | Uo
4 | Square Ceiling Limunaire | 600 | 600 | 280 | 55 | 750 | 0.6 | 3 | 3 | Regent ıtem Office 44W- 4600lm | 825 | 0.47
5 | Suspended Linear Luminaire | 800 | 600 | 380 | 75 | 650 | 0.4 | 3 | 3 | FAGERHULT 13308-449 NOTOR 65 Beta Opti 35W 4665lm | 740 | 0.57 |  | Linear Luminaire | 0.99404 | 0.88183 | 0.82237 | 0.97429 | 0.96154 | 0.978 | 0.928 |  |  |  | 0.88333 | 0.9 | 0.94828 | 0.96154 | 0.92593 | 0.83333 | 0.78333
6 | Downlight | 200 | 800 | 250 | 60 | 150 | 0.4 | 1 | 4 | XAL VELA 300 direct surface 10W-993lm | 158 | 0.49 |  | Suspended Linear Luminaire | 0.87838 | 0.98857 | 0.96649 | 0.88757 | 0.96502 | 0.98727 |  |  |  |  | 0.70175 | 0.98039 | 0.94828 | 0.78182 | 0.92727 | 0.98361
7 | Linear Luminaire | 650 | 800 | 350 | 60 | 500 | 0.6 | 3 | 4 | REGENT Geo 4 office - 1250x250-34W 3641lm | 567 | 0.54 |  | Square Ceiling Limunaire | 0.87566 | 0.90909 | 0.96 | 0.92937 | 0.62241 | 0.93333 | 0.99333 | 0.89445 | 0.79239 | 0.92807 | 0.91667 | 0.78333 | 0.89231 | 0.98333 | 0.63492 | 0.98333 | 0.98333 | 0.98333 | 0.81667 | 0.86667
8 | Square Ceiling Limunaire | 450 | 750 | 300 | 50 | 450 | 0.65 | 2 | 4 | I GUZZINI i PLAN ACCESS SQUARE-33W 3100lm | 432 | 0.58 |  | Downlight | 0.84317 | 0.94937 | 0.77951 | 0.75377 | 0.76333 | 0.825 | 0.92593 |  |  |  | 0.9 | 0.81633 | 0.95 | 0.86957 | 0.76667 | 0.86667 | 0.86538
9 | Downlight | 400 | 800 | 280 | 45 | 350 | 0.6 | 3 | 4 | LOUIS POULSEN MUNKEGAARD 30W 2145lm | 449 | 0.57 |  | Consistency ratio (%) Linear Luminaires | 0.93429 | [9 empty] | 0.89082
10 | Square Ceiling Limunaire | 600 | 600 | 290 | 55 | 500 | 0.6 | 3 | 3 | FAGERHULT 23207-402 Multilume Slim Opal 35W 3421lm | 538 | 0.59 |  | Consistency ratio (%) Suspended Linear Luminaires | 0.94555 | [9 empty] | 0.88719
11 | Suspended Linear Luminaire | 800 | 600 | 380 | 65 | 700 | 0.5 | 4 | 3 | FAGERHULT 13308-449 NOTOR 65 Beta Opti 35W 4665lm | 692 | 0.51 |  | Consistency ratio (%) Square Ceiling Limunaires | 0.88381 | [9 empty] | 0.88439
12 | Downlight | 290 | 800 | 270 | 40 | 150 | 0.4 | 2 | 4 | XAL VELA 300 direct surface 10W-993lm | 199 | 0.46 |  | Consistency ratio (%) Downlight | 0.8343 | [9 empty] | 0.86209
13 | Square Ceiling Limunaire | 250 | 800 | 350 | 40 | 150 | 0.4 | 1 | 4 | I GUZZINI i PLAN ACCESS SQUARE 33W 3100lm | 241 | 0.63
14 | Square Ceiling Limunaire | 1000 | 900 | 420 | 70 | 750 | 0.6 | 4 | 5 | REGENT Dime Office-630X630 - 43W 4402lm | 700 | 0.59
15 | Linear Luminaire | 350 | 500 | 340 | 45 | 500 | 0.55 | 2 | 3 | REGENT Geo 4 office - 1250x250-34W 3641lm | 608 | 0.58
16 | Linear Luminaire | 700 | 450 | 350 | 50 | 700 | 0.5 | 3 | 3 | REGENT Item Office-1260X325 - 44W 4400lm | 682 | 0.52
17 | Square Ceiling Limunaire | 600 | 750 | 350 | 55 | 750 | 0.6 | 3 | 4 | REGENT Dime Office-630X630 - 43W 4402lm | 745 | 0.59
18 | Downlight | 300 | 400 | 370 | 55 | 300 | 0.6 | 2 | 2 | FLOS Light Shadow Pro Ø 60 Fixed Optic Wide Flood 15W 995lm | 229 | 0.46
19 | Suspended Linear Luminaire | 900 | 1000 | 400 | 70 | 750 | 0.55 | 4 | 5 | FAGERHULT 22350-449 Dwide Pendant 52W 6592lm | 776 | 0.58
20 | Square Ceiling Limunaire | 750 | 800 | 420 | 60 | 500 | 0.6 | 3 | 4 | REGENT Dime Office-630X630 - 43W 4402 lm | 559 | 0.59
21 | Suspended Linear Luminaire | 480 | 520 | 500 | 50 | 450 | 0.55 | 2 | 3 | FAGERHULT 13308-449 NOTOR 65 Beta Opti 35W 4665lm | 507 | 0.43
22 | Linear Luminaire | 260 | 360 | 250 | 45 | 450 | 0.5 | 2 | 2 | FAGERHULT 12149-517 Closs LED Direct 16W 1972lm | 468 | 0.54
23 | Linear Luminaire | 640 | 720 | 350 | 60 | 800 | 0.6 | 3 | 4 | REGENT Item Office-1260X325 - 44W 4400lm | 818 | 0.5
24 | Downlight | 420 | 380 | 290 | 45 | 400 | 0.45 | 3 | 3 | DELTALIGHT ENTERO RD-S TRIMLESS 93045 W 14W 835lm | 330 | 0.39
25 | Square Ceiling Limunaire | 720 | 680 | 330 | 55 | 500 | 0.6 | 3 | 4 | REGENT Item Office-700X700-34W 3700lm | 631 | 0.49
26 | Suspended Linear Luminaire | 880 | 540 | 390 | 65 | 800 | 0.55 | 4 | 3 | FAGERHULT 13132-402 NOTOR 78 - UP/DOWN - 70/30 43W 5006lm | 829 | 0.51
27 | Suspended Linear Luminaire | 600 | 1000 | 420 | 70 | 550 | 0.6 | 3 | 5 | FAGERHULT 13132-402 NOTOR 78 - UP/DOWN - 70/30 43W 5006lm | 543 | 0.61
28 | Downlight | 300 | 1000 | 280 | 60 | 200 | 0.45 | 2 | 5 | XAL VELA 300 direct surface 10W-993lm | 216 | 0.52
29 | Linear Luminaire | 450 | 600 | 250 | 50 | 500 | 0.6 | 3 | 3 | FAGERHULT 12149-517 Closs LED Direct 16W 1972lm | 464 | 0.47
30 | Square Ceiling Limunaire | 800 | 1000 | 350 | 65 | 800 | 0.6 | 4 | 5 | REGENT Item Office-700X700-44W 4600lm | 862 | 0.52
This experiment was conducted to evaluate the prediction model’s ability to recommend the most suitable lighting fixture for the same volume. For these volume parameters, lighting calculations were performed in Dialux Evo using the 10 luminaires included in the generated fixture list. The lighting calculation results for each luminaire are presented in the table below.
Prediction Model : inputs: volumetric parameters - E, Uo = outputs: number of luminaires on X-Y axis and recommended luminaire | [10 empty] | E | Uo | Dialux calculation results
20 | Square Ceiling Limunaire | 750 | 800 | 420 | 60 | 500 | 0.6 | 3 | 4 | REGENT Dime Office-630X630 - 43W 4402 lm | 559 | 0.59
Technical Spesifications of Luminaires | [7 empty] | Dialux calculation results
Luminaire NO | Luminaire Type | Company Name | Product | Power (W) | Luminous Flux (lm) | Beam Angle | Beam Angle | E | Uo
1 | Square Ceiling Limunaire | REGENT | Geo 3 Office - 600X600-31W | 31 | 4100 | 60° | 60° | 568 | 0.54
2 |  | REGENT | Geo 3 Office - 600X600-23W | 23 | 3080 | 60° | 60° | 427 | 0.53
3 |  | REGENT | Dime Office-630X630 - 43W | 43 | 4402 | 60° | 60° | 559 | 0.59
4 |  | XAL | INTO 625 | 29 | 4560 | 60° | 60° | 662 | 0.47
5 |  | REGENT | Item Office-700X700-34W | 34 | 3700 | 90° | 90° | 493 | 0.52
6 |  | REGENT | Item Office-700X700-44W | 44 | 4600 | 90° | 90° | 612 | 0.52
7 |  | FAGERHULT | 22255-402 Dwide ceiling | 33 | 4367 | 110° | 110° | 570 | 0.55
8 |  | FAGERHULT | 23207-402 Multilume Slim Opal | 35 | 3421 | 120° | 120° | 399 | 0.61
9 |  | PROLICHT | SMOOTHY 60X60 | 45 | 5272 | 120° | 120° | 622 | 0.61
10 |  | I GUZZINI | i PLAN ACCESS SQUARE | 33 | 3100 | 120° | 120° | 362 | 0.6